Invitation to tender text

---------------------------------------------------------------------------------------------------------------------

Basket guard for presence and motion detectors and smoke detectors, Ø 165 mm, height 70 mm

Dimensions: Height/Depth 70 mm, Ø 165 mm
Weight: 245 g
Colour: white, similar to RAL 9010