Invitation to tender text

---------------------------------------------------------------------------------------------------------------------

Cover for wall detector fits with Berker S.1, IP20, white

Dimensions: Length 55 mm x Width 55 mm x Height/Depth 27 mm
Weight: 11 g
Protection type: IP20
Colour: white, similar to RAL 1013